NMPC inequality constraints c≤0

NMPC manipulated variable vector

u(k)=q1(k)q2(k)q3(k)q4(k)P(k)⊤∈R5,k=1,…,N,

where:

- qi(k)are the four mediated flow variables (e.g., mass flow rates)

- P(k)is the supplied power (5th MV)

- Pd(k)is the measured disturbance (heat demand)

a small positive lower bound:

qε=10-3 kg/s.

1) Flow positivity constraints (avoid zero flow)

For each horizon step kand each i=1,…,4, enforce:

qi(k)≥qε.

In the standard NMPC inequality form c≤0, this is written as:

cq,i(k)=qε-qi(k)≤0.

Equivalently, stacking all four flows across the horizon gives:

cq=qε-q1(1)qε-q2(1)qε-q3(1)qε-q4(1)⋮qε-q1(N)qε-q2(N)qε-q3(N)qε-q4(N)≤0

2) Demand satisfaction constraint (hard inequality)

P(k)≥Pd(k),k=1,…,N.

In c≤0form:

cp(k)=Pd(k)-P(k)≤0.

Stacked across the horizon:

cp=Pd(1)-P(1)⋮Pd(N)-P(N)≤0

Final constraint vector

If P≥Pdis enforced:

c=cqcp≤0